## Sheet1
Manufacturer Name | Model Number | Description | Phase | Output Voltage | Maximum Continuous Current | Maximum Continuous Power
Altenergy Power System Inc. | ELS-11.4 [208V] | Inverter with PCS functionality | Single | 208 | 48 | 10
Altenergy Power System Inc. | ELS-11.4 [240V] | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
Altenergy Power System Inc. | ELS-7.6 [208V] | Inverter with PCS functionality | Single | 208 | 31.7 | 6.6
Altenergy Power System Inc. | ELS-7.6 [240V] | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
Altenergy Power System Inc. | ELS-9.6 [208V] | Inverter with PCS functionality | Single | 208 | 40 | 8.3
Altenergy Power System Inc. | ELS-9.6 [240V] | Inverter with PCS functionality | Single | 240 | 40 | 9.6
Chint Power Systems America | CPS ECB125KTL-M/US-480 [480V] | Inverter with Additional Devices | Multi | 480 | 150 | 125
Darfon Electronics Corp. | H5000xxxxxx [240V] | Hybrid PV and Battery Inverter with PCS functionality, where x = 0-9, A-Z or blank, (0-9 for color; A-Z for customer | Single | 240 | 21 | 5
Darfon Electronics Corp. | H5001xxxxxx [240V] | Hybrid PV and Battery Inverter with PCS functionality, where x = 0-9, A-Z or blank, (0-9 for color; A-Z for customer | Single | 240 | 21 | 5
Darfon Electronics Corp. | HB51xxxxxx [240V] | Inverter with PCS functionality | Single | 240 | 21 | 5
Delta Electronics | E10_BDI [208V] | Inverter with PCS functionality | Multi | 208 | 40 | 9.12
Delta Electronics | E10_BDI [240V] | Inverter with PCS functionality | Single | 240 | 40 | 10
Delta Electronics | E10-TL-US [208V] | Inverter with PCS functionality | Multi | 208 | 40 | 9.12
Delta Electronics | E10-TL-US [240V] | Inverter with PCS functionality | Single | 240 | 40 | 10
Delta Electronics | E10-TL-US(AC) [208V] | Inverter with PCS functionality | Multi | 208 | 40 | 9.12
Delta Electronics | E10-TL-US(AC) [240V] | Inverter with PCS functionality | Single | 240 | 40 | 10
Delta Electronics | E4_BDI [208V] | Inverter with PCS functionality | Multi | 208 | 16 | 3.648
Delta Electronics | E4_BDI [240V] | Inverter with PCS functionality | Single | 240 | 16 | 4
Delta Electronics | E4-TL-US [208V] | Inverter with PCS functionality | Multi | 208 | 16 | 3.648
Delta Electronics | E4-TL-US [240V] | Inverter with PCS functionality | Single | 240 | 16 | 4
Delta Electronics | E4-TL-US(AC) [208V] | Inverter with PCS functionality | Multi | 208 | 16 | 3.648
Delta Electronics | E4-TL-US(AC) [240V] | Inverter with PCS functionality | Single | 240 | 16 | 4
Delta Electronics | E6_BDI [208V] | Inverter with PCS functionality | Multi | 208 | 24 | 5.472
Delta Electronics | E6_BDI [240V] | Inverter with PCS functionality | Single | 240 | 24 | 6
Delta Electronics | E6-TL-US [208V] | Inverter with PCS functionality | Multi | 208 | 24 | 5.472
Delta Electronics | E6-TL-US [240V] | Inverter with PCS functionality | Single | 240 | 24 | 6
Delta Electronics | E6-TL-US(AC) [208V] | Inverter with PCS functionality | Multi | 208 | 24 | 5.472
Delta Electronics | E6-TL-US(AC) [240V] | Inverter with PCS functionality | Single | 240 | 24 | 6
Delta Electronics | E8 Plus-TL-US [208V] | Inverter with PCS functionality | Multi | 208 | 32 | 7.296
Delta Electronics | E8 Plus-TL-US [240V] | Inverter with PCS functionality | Single | 240 | 32 | 8
Delta Electronics | E8 Plus-TL-US(AC) [208V] | Inverter with PCS functionality | Multi | 208 | 32 | 7.296
Delta Electronics | E8 Plus-TL-US(AC) [240V] | Inverter with PCS functionality | Single | 240 | 32 | 8
Delta Electronics | E8_BDI [208V] | Inverter with PCS functionality | Multi | 208 | 32 | 7.296
Delta Electronics | E8_BDI [240V] | Inverter with PCS functionality | Single | 240 | 32 | 8
Delta Electronics | E8-TL-US [208V] | Inverter with PCS functionality | Multi | 208 | 32 | 7.296
Delta Electronics | E8-TL-US [240V] | Inverter with PCS functionality | Single | 240 | 32 | 8
Delta Electronics | E8-TL-US(AC) [208V] | Inverter with PCS functionality | Multi | 208 | 32 | 7.296
Delta Electronics | E8-TL-US(AC) [240V] | Inverter with PCS functionality | Single | 240 | 32 | 8
Delta Electronics | EPCS-1200US [480V] | Inverter with PCS functionality | Multi | 480 | 1604 | 1200
Delta Electronics | EPCS-1500US [600V] | Inverter with PCS functionality | Multi | 600 | 1604 | 1500
Delta Electronics | EPCS-1725US [690V] | Inverter with PCS functionality | Multi | 690 | 1604 | 1725
Delta Electronics | PCS125HV [480V] | Inverter with PCS functionality | Multi | 480 | 151 | 125
Delta Electronics | S12_BDI [208V] | Inverter with PCS functionality | Multi | 208 | 48 | 10.9
Delta Electronics | S12_BDI [240V] | Inverter with PCS functionality | Single | 240 | 48 | 12
EG4 Electronics LLC | 18kPV-12LV [208V] | Inverter with PCS functionality | Multi | 208 | 50 | 10.4
EG4 Electronics LLC | 18kPV-12LV [240V] | Inverter with PCS functionality | Single | 240 | 50 | 12
EG4 Electronics LLC | IV-16000-HYB-AW-FX-xx [208V] | Inverter with PCS functionality | Multi | 208 | 66.7 | 13.8
EG4 Electronics LLC | IV-16000-HYB-AW-FX-xx [240V] | Inverter with PCS functionality | Single | 240 | 66.7 | 16
EG4 Electronics LLC | IV-8000-HYB-AW [208V] | Hybrid inverter with PCS functionality | Multi | 208 | 38.5 | 8
EG4 Electronics LLC | IV-8000-HYB-AW [240V] | Hybrid inverter with PCS functionality | Single | 240 | 33.3 | 8
Energizer Solar | Force 11.4DC | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
Energizer Solar | Force 3.8DC | Inverter with PCS functionality | Single | 240 | 15.8 | 3.8
Energizer Solar | Force 5.7DC | Inverter with PCS functionality | Single | 240 | 23.8 | 5.7
Energizer Solar | Force 7.6DC | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
Energizer Solar | Force 9.6DC | Inverter with PCS functionality | Single | 240 | 40 | 9.6
Enphase Energy Inc. | IQ8-60-2-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8-60-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8A-72-2-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8A-72-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8AC-72-M-US [208V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Multi | 208 | 64 | 15.36
Enphase Energy Inc. | IQ8AC-72-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8H-240-72-2-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8H-240-72-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8HC-72-M-US [208V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Multi | 208 | 64 | 15.36
Enphase Energy Inc. | IQ8HC-72-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8M-72-2-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8M-72-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8MC-72-M-US [208V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Multi | 208 | 64 | 15.36
Enphase Energy Inc. | IQ8MC-72-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8PLUS-72-2-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8PLUS-72-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
Enphase Energy Inc. | IQ8X-80-M-US [208V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Multi | 208 | 64 | 15.36
Enphase Energy Inc. | IQ8X-80-M-US [240V] | PV Microinverter with PCS functionality, may be paired with Enpahse IQ System Controller, may be paired with Enphase ESS. | Single | 240 | 64 | 15.36
FOXESS CO., LTD | AC1-11.4-US [240V] | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
FOXESS CO., LTD | AC1-3.8-US [240V] | Inverter with PCS functionality | Single | 240 | 15.8 | 3.8
FOXESS CO., LTD | AC1-5.7-US [240V] | Inverter with PCS functionality | Single | 240 | 23.8 | 5.7
FOXESS CO., LTD | AC1-7.6-US [240V] | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
FOXESS CO., LTD | AC1-9.6-US [240V] | Inverter with PCS functionality | Single | 240 | 40 | 9.6
FOXESS CO., LTD | H1-11.4-US [240V] | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
FOXESS CO., LTD | H1-3.8-US [240V] | Inverter with PCS functionality | Single | 240 | 15.8 | 3.8
FOXESS CO., LTD | H1-5.7-US [240V] | Inverter with PCS functionality | Single | 240 | 23.8 | 5.7
FOXESS CO., LTD | H1-7.6-US [240V] | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
FOXESS CO., LTD | H1-9.6-US [240V] | Inverter with PCS functionality | Single | 240 | 40 | 9.6
Generac Power Systems | X11402 [208V] | Inverter with PCS functionality, may be installed in various PCS configurations. Compatible with Generac PWRcell ESS equipment. | Multi | 208 | 32 | 11.4
Generac Power Systems | X7602 [240V] | Inverter with PCS functionality, may be installed in various PCS configurations. Compatible with Generac PWRcell ESS equipment. | Single | 240 | 32 | 7.6
Generac Power Systems | XVT076A03 [240V] | Inverter with PCS functionality, may be installed in various PCS configurations. Compatible with Generac PWRcell ESS equipment. | Single | 240 | 32 | 7.6
Generac Power Systems | XVT114G03 [208V] | Inverter with PCS functionality, may be installed in various PCS configurations. Compatible with Generac PWRcell ESS equipment. | Multi | 208 | 32 | 11.4
GoodWe Technologies Co., Ltd. | GEC11.4-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
GoodWe Technologies Co., Ltd. | GEC5.0-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 20.8 | 5
GoodWe Technologies Co., Ltd. | GEC6.0-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 25 | 6
GoodWe Technologies Co., Ltd. | GEC7.6-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
GoodWe Technologies Co., Ltd. | GEC9.6-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 40 | 9.6
GoodWe Technologies Co., Ltd. | GEH11.4-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
GoodWe Technologies Co., Ltd. | GEH5.0-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 20.8 | 5
GoodWe Technologies Co., Ltd. | GEH6.0-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 25 | 6
GoodWe Technologies Co., Ltd. | GEH7.6-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
GoodWe Technologies Co., Ltd. | GEH9.6-1U-US20 [240V] | Inverter with PCS functionality | Single | 240 | 40 | 9.6
GoodWe Technologies Co., Ltd. | GW11K4-ES-US20 [240V] | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
GoodWe Technologies Co., Ltd. | GW11K4-SBP-US20 [240V] | Inverter with PCS functionality | Single | 240 | 47.5 | 11.4
GoodWe Technologies Co., Ltd. | GW5000-ES-US20 [240V] | Inverter with PCS functionality | Single | 240 | 20.8 | 5
GoodWe Technologies Co., Ltd. | GW5000-SBP-US20 [240V] | Inverter with PCS functionality | Single | 240 | 20.8 | 5
GoodWe Technologies Co., Ltd. | GW6000-ES-US20 [240V] | Inverter with PCS functionality | Single | 240 | 25 | 6
GoodWe Technologies Co., Ltd. | GW6000-SBP-US20 [240V] | Inverter with PCS functionality | Single | 240 | 25 | 6
GoodWe Technologies Co., Ltd. | GW7600-ES-US20 [240V] | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
GoodWe Technologies Co., Ltd. | GW7600-SBP-US20 [240V] | Inverter with PCS functionality | Single | 240 | 31.7 | 7.6
GoodWe Technologies Co., Ltd. | GW9600-ES-US20 [240V] | Inverter with PCS functionality | Single | 240 | 40 | 9.6
GoodWe Technologies Co., Ltd. | GW9600-SBP-US20 [240V] | Inverter with PCS functionality | Single | 240 | 40 | 9.6
Lite-On Technology Corporation | IN-HP5123US [120V] | Inverter with PCS functionality | Single | 120 | 41.7 | 10
NeoVolta Inc. | NV7600 [208V] | Inverter with PCS functionality | Multi | 208 | 32 | 7.68
NeoVolta Inc. | NV7600 [240V] | Inverter with PCS functionality | Single | 240 | 32 | 7.68
OutBack Power Technologies, Inc. | GS4048A [240V] | Inverter with PCS functionality | Single | 240 | 15 | 3.6
OutBack Power Technologies, Inc. | GS8048A [240V] | Inverter with PCS functionality | Single | 240 | 30 | 7.2
OutBack Power Technologies, Inc. | SBX5048-120/240 [240V] | Inverter with PCS functionality | Single | 240 | 24 | 5
PANASONIC CORPORATION OF NORTH AMERICA | EVHB-I7 [240V] | Inverter with PCS functionality used in combination with external Backup Interface EV-SB | Single | 240 | 31.7 | 7.608
POMCube Inc. | PNZ-10K1N2-NA0 [240V] | 10 kW Hybrid Inverter with PCS functionality | Single | 240 | 42 | 10
Power Center | Max Hybrid 15 [208V] | Inverter with PCS functionality | Multi | 208 | 62.5 | 15
Power Center | Max Hybrid 15 [240V] | Inverter with PCS functionality | Single | 240 | 62.5 | 15
Qcells North America | Q.VOLT A3.8SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 15.9 | 3.816
Qcells North America | Q.VOLT A5.0SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 20.9 | 5.016
Qcells North America | Q.VOLT A6.0SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 25 | 6
Qcells North America | Q.VOLT A7.6SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 31.7 | 7.608
Qcells North America | Q.VOLT H3.8SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 15.9 | 3.816
Qcells North America | Q.VOLT H5.0SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 20.9 | 5.016
Qcells North America | Q.VOLT H6.0SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 25 | 6
Qcells North America | Q.VOLT H7.6SX | Inverter with PCS functionality used in combination with external Backup Interface (Q.HOME HUB 200SX) | Single | 240 | 31.7 | 7.608
RNG International Inc. | RIV4810HI-SPS [240V] | Inverter with PCS functionality | Single | 240 | 45.8 | 11
RNG International Inc. | RIV4850HI-SPS [240V] | Inverter with PCS functionality | Single | 240 | 22.9 | 5.5
RNG International Inc. | RIV4860HI-SPS [240V] | Inverter with PCS functionality | Single | 240 | 27.5 | 6.6
RNG International Inc. | RIV4876HI-SPS [240V] | Inverter with PCS functionality | Single | 240 | 35 | 8.4
RNG International Inc. | RIV4880HI-SPS [240V] | Inverter with PCS functionality | Single | 240 | 36.7 | 8.8
Savant Systems Inc. | PS-INV-10KW-100A-XX [240V] | Inverter with PCS functionality, where XX are two characters. | Single | 240 | 42 | 10
Savant Systems Inc. | PS-INV-12.5KW-100A-XX [240V] | Inverter with PCS functionality, where XX are two characters. | Single | 240 | 52 | 12.5
Schneider Electric USA, Inc. | XW Pro 6848 NA [240V] | Inverter with PCS functionality | Single | 240 | 27 | 6.8
Shenzhen Growatt New Energy Co., Ltd. | MIN 10000TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 42 | 10
Shenzhen Growatt New Energy Co., Ltd. | MIN 10000TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 42 | 10
Shenzhen Growatt New Energy Co., Ltd. | MIN 11400TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 48 | 11.4
Shenzhen Growatt New Energy Co., Ltd. | MIN 11400TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 48 | 11.4
Shenzhen Growatt New Energy Co., Ltd. | MIN 3000TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 12.5 | 3
Shenzhen Growatt New Energy Co., Ltd. | MIN 3000TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 12.5 | 3
Shenzhen Growatt New Energy Co., Ltd. | MIN 3800TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 16 | 3.8
Shenzhen Growatt New Energy Co., Ltd. | MIN 3800TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 16 | 3.8
Shenzhen Growatt New Energy Co., Ltd. | MIN 5000TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 21 | 5
Shenzhen Growatt New Energy Co., Ltd. | MIN 5000TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 21 | 5
Shenzhen Growatt New Energy Co., Ltd. | MIN 6000TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 25 | 6
Shenzhen Growatt New Energy Co., Ltd. | MIN 6000TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 25 | 6
Shenzhen Growatt New Energy Co., Ltd. | MIN 7600TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 32 | 7.6
Shenzhen Growatt New Energy Co., Ltd. | MIN 7600TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 32 | 7.6
Shenzhen Growatt New Energy Co., Ltd. | MIN 8200TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 35 | 8.2
Shenzhen Growatt New Energy Co., Ltd. | MIN 8200TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 35 | 8.2
Shenzhen Growatt New Energy Co., Ltd. | MIN 9000TL-XH-US [208V] | Inverter with PCS functionality | Multi | 208 | 38 | 9
Shenzhen Growatt New Energy Co., Ltd. | MIN 9000TL-XH-US [240V] | Inverter with PCS functionality | Single | 240 | 38 | 9
Shenzhen Growatt New Energy Co., Ltd. | SPH 10000TL-HU-US [208V] | Inverter with Additonal Device | Single | 208 | 50 | 10
Shenzhen Growatt New Energy Co., Ltd. | SPH 10000TL-HU-US [240V] | Inverter with Additonal Device | Multi | 240 | 50 | 10
Shenzhen Growatt New Energy Co., Ltd. | SPH 10000TL-HU-US(B) [208V] | Inverter with Additonal Device | Single | 208 | 50 | 10
Shenzhen Growatt New Energy Co., Ltd. | SPH 10000TL-HU-US(B) [240V] | Inverter with Additonal Device | Single | 240 | 50 | 10
Shenzhen Growatt New Energy Co., Ltd. | WIT 100K-A-US [480V] | Inverter with PCS functionality | Multi | 480 | 132.4 | 110
Shenzhen Growatt New Energy Co., Ltd. | WIT 100K-AU-US [480V] | Inverter with PCS functionality | Multi | 480 | 132.4 | 110
Shenzhen Growatt New Energy Co., Ltd. | WIT 100K-H-US [480V] | Inverter with PCS functionality | Multi | 480 | 132.4 | 110
Shenzhen Growatt New Energy Co., Ltd. | WIT 100K-HU-US [480V] | Inverter with PCS functionality | Multi | 480 | 132.4 | 110
Shenzhen Growatt New Energy Co., Ltd. | WIT 28K-A-US L2 | Inverter with PCS functionality | Multi | 208 | 85.6 | 30.8
Shenzhen Growatt New Energy Co., Ltd. | WIT 28K-AU-US L2 | Inverter with PCS functionality | Multi | 208 | 85.6 | 30.8
Shenzhen Growatt New Energy Co., Ltd. | WIT 28K-H-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 85.6 | 30.8
Shenzhen Growatt New Energy Co., Ltd. | WIT 28K-HU-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 85.6 | 30.8
Shenzhen Growatt New Energy Co., Ltd. | WIT 35K-A-US L2 | Inverter with PCS functionality | Multi | 208 | 106.9 | 38.8
Shenzhen Growatt New Energy Co., Ltd. | WIT 35K-AU-US L2 | Inverter with PCS functionality | Multi | 208 | 106.9 | 38.8
Shenzhen Growatt New Energy Co., Ltd. | WIT 35K-H-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 106.9 | 38.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 35K-HU-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 106.9 | 38.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 40K-A-US L2 | Inverter with PCS functionality | Multi | 208 | 122.2 | 44
Shenzhen Growatt New Energy Co., Ltd. | WIT 40K-AU-US L2 | Inverter with PCS functionality | Multi | 208 | 122.2 | 44
Shenzhen Growatt New Energy Co., Ltd. | WIT 40K-H-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 122.2 | 44
Shenzhen Growatt New Energy Co., Ltd. | WIT 40K-HU-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 122.2 | 44
Shenzhen Growatt New Energy Co., Ltd. | WIT 50K-A-US [480V] | Inverter with PCS functionality | Multi | 480 | 66.2 | 55
Shenzhen Growatt New Energy Co., Ltd. | WIT 50K-AU-US [480V] | Inverter with PCS functionality | Multi | 480 | 66.2 | 55
Shenzhen Growatt New Energy Co., Ltd. | WIT 50K-H-US [480V] | Inverter with PCS functionality | Multi | 480 | 66.2 | 55
Shenzhen Growatt New Energy Co., Ltd. | WIT 50K-HU-US [480V] | Inverter with PCS functionality | Multi | 480 | 66.2 | 55
Shenzhen Growatt New Energy Co., Ltd. | WIT 55K-A-US L2 | Inverter with PCS functionality | Multi | 208 | 168.1 | 60.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 55K-AU-US L2 | Inverter with PCS functionality | Multi | 208 | 168.1 | 60.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 55K-H-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 168.1 | 60.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 55K-HU-US L2 [208V] | Inverter with PCS functionality | Multi | 208 | 168.1 | 60.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 63K-A-US [480V] | Inverter with PCS functionality | Multi | 480 | 83.4 | 69.3
Shenzhen Growatt New Energy Co., Ltd. | WIT 63K-AU-US [480V] | Inverter with PCS functionality | Multi | 480 | 83.4 | 69.3
Shenzhen Growatt New Energy Co., Ltd. | WIT 63K-H-US [480V] | Inverter with PCS functionality | Multi | 480 | 83.4 | 69.3
Shenzhen Growatt New Energy Co., Ltd. | WIT 63K-HU-US [480V] | Inverter with PCS functionality | Multi | 480 | 83.4 | 69.3
Shenzhen Growatt New Energy Co., Ltd. | WIT 75K-A-US [480V] | Inverter with PCS functionality | Multi | 480 | 99.3 | 82.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 75K-AU-US [480V] | Inverter with PCS functionality | Multi | 480 | 99.3 | 82.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 75K-H-US [480V] | Inverter with PCS functionality | Multi | 480 | 99.3 | 82.5
Shenzhen Growatt New Energy Co., Ltd. | WIT 75K-HU-US [480V] | Inverter with PCS functionality | Multi | 480 | 99.3 | 82.5
Shenzhen Lux Power Technology Co., Ltd. | LXP-LB-US 10K [208V] | Inverter with PCS functionality | Multi | 208 | 48 | 10
Shenzhen Lux Power Technology Co., Ltd. | LXP-LB-US 10K [240V] | Inverter with PCS functionality | Single | 240 | 41.6 | 10
Shenzhen Lux Power Technology Co., Ltd. | LXP-LB-US 12K [208V] | Inverter with PCS functionality | Multi | 208 | 50 | 10.4
Shenzhen Lux Power Technology Co., Ltd. | LXP-LB-US 12K [240V] | Inverter with PCS functionality | Single | 240 | 50 | 12
Shenzhen Lux Power Technology Co., Ltd. | LXP-LB-US 8K [208V] | Inverter with PCS functionality | Multi | 208 | 38.5 | 8
Shenzhen Lux Power Technology Co., Ltd. | LXP-LB-US 8K [240V] | Inverter with PCS functionality | Single | 240 | 33.3 | 8
Shenzhen Megarevo Technology Co., Ltd. | R10KLNA [240V] | Inverter with PCS functionality | Single | 240 | 45.8 | 11
Shenzhen Megarevo Technology Co., Ltd. | R12KLNA-P4 [240V] | Inverter with PCS functionality | Single | 240 | 55 | 13200
Shenzhen Megarevo Technology Co., Ltd. | R12KLNA-P6 [240V] | Inverter with PCS functionality | Single | 240 | 55 | 13200
Shenzhen Megarevo Technology Co., Ltd. | R16KLNA-P4 [240V] | Inverter with PCS functionality | Single | 240 | 73.3 | 17600
Shenzhen Megarevo Technology Co., Ltd. | R16KLNA-P6 [240V] | Inverter with PCS functionality | Single | 240 | 73.3 | 17600
Shenzhen Megarevo Technology Co., Ltd. | R5KLNA [240V] | Inverter with PCS functionality | Single | 240 | 22.9 | 5.5
Shenzhen Megarevo Technology Co., Ltd. | R6KLNA [240V] | Inverter with PCS functionality | Single | 240 | 27.5 | 6.6
Shenzhen Megarevo Technology Co., Ltd. | R7K6LNA [240V] | Inverter with PCS functionality | Single | 240 | 35 | 8.4
Shenzhen Megarevo Technology Co., Ltd. | R8KLNA [240V] | Inverter with PCS functionality | Single | 240 | 36.7 | 8.8
Shenzhen Megarevo Technology Co., Ltd. | R8KLNA-P4 [240V] | Inverter with PCS functionality | Single | 240 | 36.7 | 8800
Shenzhen Megarevo Technology Co., Ltd. | R8KLNA-P6 [240V] | Inverter with PCS functionality | Single | 240 | 36.7 | 8800
Sol-Ark | 30K-3P-208V [120V] | Inverter with PCS functionality | Single | 120 | 83.4 | 30
Sol-Ark | 5K-120V/8K-230V-1P [120V] | Inverter with PCS functionality. | Single | 120 | 40 | 4.8
Sol-Ark | 5K-120V/8K-230V-1P [240V] | Inverter with PCS functionality. | Single | 240 | 33.3 | 8
Sol-Ark | 60K-3P-480V [277V] | Inverter with PCS functionality | Single | 277 | 72.3 | 60
Sol-Ark | Limitless 15K-LV [208V] | Inverter with PCS functionality | Multi | 208 | 62.5 | 15
Sol-Ark | Limitless 15K-LV [240V] | Inverter with PCS functionality | Single | 240 | 62.5 | 15
Sol-Ark | Sol-Ark-12K-P [208V] | Inverter with PCS functionality | Multi | 208 | 37.5 | 9
Sol-Ark | Sol-Ark-12K-P [240V] | Inverter with PCS functionality | Single | 240 | 37.5 | 9
Sol-Ark | Sol-Ark-8k-48-ST [208V] | Inverter with PCS functionality | Multi | 208 | 33 | 8
Sol-Ark | Sol-Ark-8k-48-ST [240V] | Inverter with PCS functionality | Single | 240 | 33 | 8
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-AC-3.8K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 15.9 | 3.816
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-AC-5.0K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 20.9 | 5.016
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-AC-6.0K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 25 | 6
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-AC-7.6K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 31.7 | 7.608
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-HYB-3.8K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 15.9 | 3.816
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-HYB-5.0K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 20.9 | 5.016
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-HYB-6.0K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 25 | 6
SolaX Power Network Technology (Zhe jiang) Co., Ltd. | A1-HYB-7.6K-G2 [240V] | Inverter with PCS functionality used in combination with external Backup Interface (A1-BI-200-G2 or A1-BI PRO-200-G2) | Single | 240 | 31.7 | 7.608
Tesla Inc. | 1538000-xx-y [240V] | PV Inverter with PCS functionality | Single | 240 | 32 | 7.6
Tigo Energy, Inc | TSI-10.0K-US [208V] | Inverter with PCS functionality | Multi | 208 | 48 | 10
Tigo Energy, Inc | TSI-10.0K-US [240V] | Inverter with PCS functionality | Single | 240 | 48 | 10
Tigo Energy, Inc | TSI-11.4K-US [208V] | Inverter with PCS functionality | Multi | 208 | 48 | 11.4
Tigo Energy, Inc | TSI-11.4K-US [240V] | Inverter with PCS functionality | Single | 240 | 48 | 11.4
Tigo Energy, Inc | TSI-8.2K-US [208V] | Inverter with PCS functionality | Multi | 208 | 48 | 8.2
Tigo Energy, Inc | TSI-8.2K-US [240V] | Inverter with PCS functionality | Single | 240 | 48 | 8.2
Tigo Energy, Inc | TSI-9.0K-US [208V] | Inverter with PCS functionality | Multi | 208 | 48 | 9
Tigo Energy, Inc | TSI-9.0K-US [240V] | Inverter with PCS functionality | Single | 240 | 48 | 9